## Sheet1
| master Reservation Reserved By | master WO № | master WO Status | master Reservation № | master Reservation reservMonth | master Reservation Material Code | master Reservation material | master Reservation Qty | Work Order Spare Description | Estimated Quantity | Work Order Number | Work Order Description | Work Order Status Description | Asset Description | Asset Number
0 | Mirjakhon Toirov | 35027 | Closed | 1598 | 5 | 06811 | Stainless steel Tube for steam tracing ASTMA269 TP304 Welded Annealed Tube 1/2" O.D x 0.035" THK / Трубка из нержавеющей стали для пароспутника | 30
1 | Mirjakhon Toirov | 52090 | Constraint | 4450 | 9 | 07633 | Рулон оцинкованный ГОСТ 14918-80Ст08пс Zn120, 0,65x1250 БТ н/обр. | 4794.6
2 | Mirjakhon Toirov | 52090 | Constraint | 4456 | 9 | 07634 | Рулон оцинкованный ГОСТ 14918-80Ст08пс Zn120, 0,5x1250 БТ н/обр. | 171.3 | Рулон оцинкованный ГОСТ 14918-80Ст08пс Zn120, 0,5x1250 БТ н/обр. | 153 | 45933 | The drainage line fo the Boiler A/B/C analyzer cabinet should be insulated and jacketed. | Constraint | Analyzer Cabinet | 172-XP-006A-XX-06
3 | Mirjakhon Toirov | 52090 | Constraint | 4456 | 9 | 07634 | Рулон оцинкованный ГОСТ 14918-80Ст08пс Zn120, 0,5x1250 БТ н/обр. | 171.3 | Рулон оцинкованный ГОСТ 14918-80Ст08пс Zn120, 0,5x1250 БТ н/обр. | 28.5 | 72576 | Linya 1"SCH-D2AS-72052-501-SW ning isolyatsiyasi to'liq tugatilmagan. Joylashish joyi Unit 20 va Unit 35 oralig'ida. Balka nomeri A20-235. | Completed | Steam and Condensate System | Unit 72
4 | Mirjakhon Toirov | 52090 | Constraint | 5387 | 9 | 07634 | Рулон оцинкованный ГОСТ 14918-80Ст08пс Zn120, 0,5x1250 БТ н/обр. | 4978.7
5 | Mirjakhon Toirov | 52090 | Constraint | 5388 | 9 | 09356 | Высокотемпературный силиконовый герметик "TYTAN" | 162 | Высокотемпературный силиконовый герметик "TYTAN" | 3 | 72576 | Linya 1"SCH-D2AS-72052-501-SW ning isolyatsiyasi to'liq tugatilmagan. Joylashish joyi Unit 20 va Unit 35 oralig'ida. Balka nomeri A20-235. | Completed | Steam and Condensate System | Unit 72
6 | Mirjakhon Toirov | 52090 | Constraint | 5565 | 10 | 06868 | Лента из нержавеющей стали 12х0,5мм AISI304 | 52 | Лента из нержавеющей стали 12х0,5мм AISI304 | 136 | 45933 | The drainage line fo the Boiler A/B/C analyzer cabinet should be insulated and jacketed. | Constraint | Analyzer Cabinet | 172-XP-006A-XX-06
7 | Mirjakhon Toirov | 52090 | Constraint | 5565 | 10 | 06868 | Лента из нержавеющей стали 12х0,5мм AISI304 | 52 | Лента из нержавеющей стали 12х0,5мм AISI304 | 1.55 | 72576 | Linya 1"SCH-D2AS-72052-501-SW ning isolyatsiyasi to'liq tugatilmagan. Joylashish joyi Unit 20 va Unit 35 oralig'ida. Balka nomeri A20-235. | Completed | Steam and Condensate System | Unit 72
8 | Mirjakhon Toirov | 52090 | Constraint | 5737 | 11 | 09367 | Цилиндр теплоизоляционный ТЕХНО 120 1200х60,3х40мм | 307.2 | Цилиндр теплоизоляционный ТЕХНО 120 1200х60,3х40мм | 55.2 | 45933 | The drainage line fo the Boiler A/B/C analyzer cabinet should be insulated and jacketed. | Constraint | Analyzer Cabinet | 172-XP-006A-XX-06
9 | Mirjakhon Toirov | 52090 | Constraint | 5756 | 10 | 07391 | Heat Insulating Fiberglass Tape Main composition AI2O3+SiO2 Organic content - 20% Glass fiber reinforcement Max. pace applications, *C 650 Weight kg/sq.m. 1,5 (3mm) / | 300 | Strapping tool for insulation works / Обвязочный инструмент для изоляции. Натяжитель из нержавеющей стали с облицовкой из нержавеющей стали от 1/2 до 3/4 дюймов | 10 | 45933 | The drainage line fo the Boiler A/B/C analyzer cabinet should be insulated and jacketed. | Constraint | Analyzer Cabinet | 172-XP-006A-XX-06
10 | Mirjakhon Toirov | 52090 | Constraint | 5877 | 11 | 07391 | Heat Insulating Fiberglass Tape Main composition AI2O3+SiO2 Organic content - 20% Glass fiber reinforcement Max. pace applications, *C 650 Weight kg/sq.m. 1,5 (3mm) / | 150
11 | Mirjakhon Toirov | 76705 | Constraint | 6161 | 11 | 06315 | Электроды сварочные марки УОНИ 13/55 диаметром 3 мм | 5
12 | Mirjakhon Toirov | 76705 | Constraint | 6162 | 11 | 05193 | Абразивный отрезной круг Т41 d 125*1,0*22мм | 5
13 | Mirjakhon Toirov | 81769 | Scheduled | 6744 | 12 | 07315 | Аргон газ особой чистоты 6.0 ТУ 2114-003-37924839-2016 (99,9999%) | 7.7
14 | Mirjakhon Toirov | 81769 | Scheduled | 6766 | 12 | 07315 | Аргон газ особой чистоты 6.0 ТУ 2114-003-37924839-2016 (99,9999%) | 7.7
15 | Mirjakhon Toirov | 81769 | Scheduled | 6773 | 12 | 07315 | Аргон газ особой чистоты 6.0 ТУ 2114-003-37924839-2016 (99,9999%) | 7.7
16 | Mirjakhon Toirov | 81769 | Scheduled | 6828 | 12 | 10218 | Tsh 6.1-00203849-59:2008 Азот (газ ҳолда, 40 литр, сиғими 6,2 м3 баллонда) | 2