## Sheet1
Requisition Number | Item | Requisitioned Quantity | uom | Contract № | Contract date | Currency (usd/uzs/eur/rub) | Actual price per unit | Actual quantity | Approval Path Name | Created By | Required Year | Required Month | Requisition Description | Expected Price per unit, usd | Summary Expected Cost, usd | raisedYear | raisedMonth | Catalogue Number
940 | 02-PMCC-05-03 QF2,10 MCCB Handle broken | 5 | Set | [5 empty] | Routine Maintenance Department | Abbos Meyliyev Ziyatovich | 2023 | 10 | to ensure continuous operation of the ASU unit | 90 | 450 | 2023 | 9 | WIM0052913
940 | 02-PMCC-05-03 QF1,18 MCB and QF2,19 MCB not working | 2 | Set | [5 empty] | Routine Maintenance Department | Abbos Meyliyev Ziyatovich | 2023 | 10 | to ensure continuous operation of the ASU unit | 400 | 800 | 2023 | 9 | WIM0052915
940 | Female and Male connector 02-PMCC-05-02 feeder 1.14 | 2 | Set | [5 empty] | Routine Maintenance Department | Abbos Meyliyev Ziyatovich | 2023 | 10 | to ensure continuous operation of the ASU unit | 100 | 200 | 2023 | 9 | WIM0052924
940 | Circuit Breaker (02-HVAC-05-41-16Q5) | 2 | Set | [5 empty] | Routine Maintenance Department | Abbos Meyliyev Ziyatovich | 2023 | 10 | to ensure continuous operation of the ASU unit | 400 | 800 | 2023 | 9 | WIM0052925
940 | Circuit Breaker (02-HVAC-05-43-15Q5, 17Q5, 17Q7, 27Q2,28Q2. 02-HVAC-05-42-17Q4) | 6 | Set | [5 empty] | Routine Maintenance Department | Abbos Meyliyev Ziyatovich | 2023 | 10 | to ensure continuous operation of the ASU unit | 400 | 2400 | 2023 | 9 | WIM0052926
940 | Fuses for 110-XP-150-TH1-TH72 and 110-XP-250-TH1-TH72 | 50 | pcs. | [5 empty] | Routine Maintenance Department | Abbos Meyliyev Ziyatovich | 2023 | 10 | to ensure continuous operation of the ASU unit | 20 | 1000 | 2023 | 9 | WIM0052927
940 | Mini Power Supply module 110-ELP-05-44 | 5 | pcs. | [5 empty] | Routine Maintenance Department | Abbos Meyliyev Ziyatovich | 2023 | 10 | to ensure continuous operation of the ASU unit | 120 | 600 | 2023 | 9 | WIM0052928
940 | Circuit Breaker (02-HVAC-05-42-17Q7) | 2 | Set | [5 empty] | Routine Maintenance Department | Abbos Meyliyev Ziyatovich | 2023 | 10 | to ensure continuous operation of the ASU unit | 400 | 800 | 2023 | 9 | WIM0052929
940 | Thermostat for 110-072A-HE01 | 3 | pcs. | [5 empty] | Routine Maintenance Department | Abbos Meyliyev Ziyatovich | 2023 | 10 | to ensure continuous operation of the ASU unit | 110 | 330 | 2023 | 9 | WIM0052930
940 | 120-XP-203-EA-01-M02 VSD Panel door Keypad | 1 | pcs. | [5 empty] | Routine Maintenance Department | Abbos Meyliyev Ziyatovich | 2023 | 10 | to ensure continuous operation of the ASU unit | 700 | 700 | 2023 | 9 | WIM0052931
940 | Synchronoscope for 02-PDP-05-31, 02-PDP-05-44, 110-ELP-05-41, 110-ELP-05-44 | 5 | pcs. | [5 empty] | Routine Maintenance Department | Abbos Meyliyev Ziyatovich | 2023 | 10 | to ensure continuous operation of the ASU unit | 150 | 750 | 2023 | 9 | WIM0052932
940 | Protection Relay for HVAC Panels | 5 | Set | [5 empty] | Routine Maintenance Department | Abbos Meyliyev Ziyatovich | 2023 | 10 | to ensure continuous operation of the ASU unit | 5500 | 27500 | 2023 | 9 | WIM0052933
940 | Surge Arrester (02-PMCC-05-08) | 6 | Set | [5 empty] | Routine Maintenance Department | Abbos Meyliyev Ziyatovich | 2023 | 10 | to ensure continuous operation of the ASU unit | 50 | 300 | 2023 | 9 | WIM0052916
940 | Pilot light LED lamp for LCS | 50 | pcs. | [5 empty] | Routine Maintenance Department | Abbos Meyliyev Ziyatovich | 2023 | 10 | to ensure continuous operation of the ASU unit | 25 | 1250 | 2023 | 9 | WIM0052934
940 | Pilot light LED lamp for LCS | 50 | pcs. | [5 empty] | Routine Maintenance Department | Abbos Meyliyev Ziyatovich | 2023 | 10 | to ensure continuous operation of the ASU unit | 25 | 1250 | 2023 | 9 | WIM0052935
940 | Pilot light LED lamp for LCS | 50 | pcs. | [5 empty] | Routine Maintenance Department | Abbos Meyliyev Ziyatovich | 2023 | 10 | to ensure continuous operation of the ASU unit | 25 | 1250 | 2023 | 9 | WIM0052936
940 | Pilot light LED lamp for LCS | 50 | pcs. | [5 empty] | Routine Maintenance Department | Abbos Meyliyev Ziyatovich | 2023 | 10 | to ensure continuous operation of the ASU unit | 25 | 1250 | 2023 | 9 | WIM0052937
940 | Pilot light LED lamp for LCS | 50 | pcs. | [5 empty] | Routine Maintenance Department | Abbos Meyliyev Ziyatovich | 2023 | 10 | to ensure continuous operation of the ASU unit | 25 | 1250 | 2023 | 9 | WIM0052938
940 | Pilot light LED lamp for LCS | 50 | pcs. | [5 empty] | Routine Maintenance Department | Abbos Meyliyev Ziyatovich | 2023 | 10 | to ensure continuous operation of the ASU unit | 25 | 1250 | 2023 | 9 | WIM0052939
940 | Soft starter for 02-PMCC-05-32-4 and 02-PMCC-05-34-4 | 2 | Set | [5 empty] | Routine Maintenance Department | Abbos Meyliyev Ziyatovich | 2023 | 10 | to ensure continuous operation of the ASU unit | 12000 | 24000 | 2023 | 9 | WIM0052940
940 | VSD PC Board MAC/BAC Crane | 2 | Set | [5 empty] | Routine Maintenance Department | Abbos Meyliyev Ziyatovich | 2023 | 10 | to ensure continuous operation of the ASU unit | 5000 | 10000 | 2023 | 9 | WIM0052941
940 | VSD PC Board MAC/BAC Crane | 2 | Set | [5 empty] | Routine Maintenance Department | Abbos Meyliyev Ziyatovich | 2023 | 10 | to ensure continuous operation of the ASU unit | 4000 | 8000 | 2023 | 9 | WIM0052942
940 | Selector Switch for 110-ELP-05-42 | 5 | pcs. | [5 empty] | Routine Maintenance Department | Abbos Meyliyev Ziyatovich | 2023 | 10 | to ensure continuous operation of the ASU unit | 25 | 125 | 2023 | 9 | WIM0052943
940 | Connector of secondary circuit 110-XP-250-XX-001 outgoing feeder 02-PMCC-05-04 | 2 | Set | [5 empty] | Routine Maintenance Department | Abbos Meyliyev Ziyatovich | 2023 | 10 | to ensure continuous operation of the ASU unit | 100 | 200 | 2023 | 9 | WIM0052917
940 | Switcher on/off for Encloser box 110-PDP-2062 /110-PT-2005A / 110-PT-2416 / 110-PT-2208 | 10 | pcs. | [5 empty] | Routine Maintenance Department | Abbos Meyliyev Ziyatovich | 2023 | 10 | to ensure continuous operation of the ASU unit | 25 | 250 | 2023 | 9 | WIM0052944
940 | Bus bar box for Safety Showers 110-FSE-SEW-001/002/003/004/005 and 02-ETCP-05-06/08 panels | 8 | Set | [5 empty] | Routine Maintenance Department | Abbos Meyliyev Ziyatovich | 2023 | 10 | to ensure continuous operation of the ASU unit | 700 | 5600 | 2023 | 9 | WIM0052945
940 | Temperature gauge 110-TG-1061 | 1 | Set | [5 empty] | Routine Maintenance Department | Abbos Meyliyev Ziyatovich | 2023 | 10 | to ensure continuous operation of the ASU unit | 1000 | 1000 | 2023 | 9 | WIM0052946
940 | Temperature gauge 110-TG-0720A | 1 | Set | [5 empty] | Routine Maintenance Department | Abbos Meyliyev Ziyatovich | 2023 | 10 | to ensure continuous operation of the ASU unit | 1000 | 1000 | 2023 | 9 | WIM0052947
940 | 2-Valve Manifolds for 120-PT-1516A/B, 120-PT-1517, 120-PT-1518 pressure transmitter | 4 | pcs. | [5 empty] | Routine Maintenance Department | Abbos Meyliyev Ziyatovich | 2023 | 10 | to ensure continuous operation of the ASU unit | 700 | 2800 | 2023 | 9 | WIM0052948
940 | Temperature Gauge 120-TG-2202 | 1 | Set | [5 empty] | Routine Maintenance Department | Abbos Meyliyev Ziyatovich | 2023 | 10 | to ensure continuous operation of the ASU unit | 1000 | 1000 | 2023 | 9 | WIM0052949
940 | Expansion joint Radiant coil manifold For 120-HF-101/201 | 6 | Set | [5 empty] | Routine Maintenance Department | Abbos Meyliyev Ziyatovich | 2023 | 10 | to ensure continuous operation of the ASU unit | 2000 | 12000 | 2023 | 9 | WIM0052950
940 | Regarding issues of the rupture disc ASU train 2 | 1 | pcs. | [5 empty] | Routine Maintenance Department | Abbos Meyliyev Ziyatovich | 2023 | 10 | to ensure continuous operation of the ASU unit | 700 | 700 | 2023 | 9 | WIM0052951
940 | Handle grip for UPS Panel door | 5 | Set | [5 empty] | Routine Maintenance Department | Abbos Meyliyev Ziyatovich | 2023 | 10 | to ensure continuous operation of the ASU unit | 100 | 500 | 2023 | 9 | WIM0052918
940 | Basic solid-state relay for Magnetic Bearing | 20 | pcs. | [5 empty] | Routine Maintenance Department | Abbos Meyliyev Ziyatovich | 2023 | 10 | to ensure continuous operation of the ASU unit | 30 | 600 | 2023 | 9 | WIM0052919
940 | Communication module 02-PMCC-05-03, Cabinet 7, Feeders 5 | 3 | Set | [5 empty] | Routine Maintenance Department | Abbos Meyliyev Ziyatovich | 2023 | 10 | to ensure continuous operation of the ASU unit | 600 | 1800 | 2023 | 9 | WIM0052920
940 | ABB CB handle (110-PC-076B-M01) | 10 | Set | [5 empty] | Routine Maintenance Department | Abbos Meyliyev Ziyatovich | 2023 | 10 | to ensure continuous operation of the ASU unit | 90 | 900 | 2023 | 9 | WIM0052921
940 | Female and Male connector 02-PMCC-05-02 feeder 1.14 | 2 | Set | [5 empty] | Routine Maintenance Department | Abbos Meyliyev Ziyatovich | 2023 | 10 | to ensure continuous operation of the ASU unit | 100 | 200 | 2023 | 9 | WIM0052922
940 | Female and Male connector 02-PMCC-05-02 feeder 1.14 | 2 | Set | [5 empty] | Routine Maintenance Department | Abbos Meyliyev Ziyatovich | 2023 | 10 | to ensure continuous operation of the ASU unit | 100 | 200 | 2023 | 9 | WIM0052923