## Sheet1
Requisition Number | Item | Requisitioned Quantity | uom | Contract № | Contract date | Currency (usd/uzs/eur/rub) | Actual price per unit | Actual quantity | Approval Path Name | Created By | Required Year | Required Month | Requisition Description | Expected Price per unit, usd | Summary Expected Cost, usd | raisedYear | raisedMonth | Catalogue Number
1679 | CAP 480VAC 60 UF 63.5 X 132 M12 CB03 Capacitors | 390 | Each | [5 empty] | Routine Maintenance Department | Komil Aliqulov Ahmad o'g'li | 2024 | 5 | Spare parts for all UPS panels of Uzbekistan GTL plant. | 45 | 17550 | 2024 | 5 | WIM0063599
1679 | CAP 234-9225 CAP 250VAC 150 UF 63.5 X 132 M12 CB03 Capacitors | 60 | Each | [5 empty] | Routine Maintenance Department | Komil Aliqulov Ahmad o'g'li | 2024 | 5 | Spare parts for all UPS panels of Uzbekistan GTL plant. | 34 | 2040 | 2024 | 5 | WIM0063600
1679 | PCB ASSY XXW CONTROLLER A070 | 14 | Each | [5 empty] | Routine Maintenance Department | Komil Aliqulov Ahmad o'g'li | 2024 | 5 | Spare parts for all UPS panels of Uzbekistan GTL plant. | 3223 | 45122 | 2024 | 5 | WIM0063609
1679 | COMPLETE PCB PSU AC SUPPLY OUT A201,A202 | 22 | Each | [5 empty] | Routine Maintenance Department | Komil Aliqulov Ahmad o'g'li | 2024 | 5 | Spare parts for all UPS panels of Uzbekistan GTL plant. | 1393 | 30646 | 2024 | 5 | WIM0063610
1679 | CAP EL 350V 20% 6800UF 85C RD CB02 | 42 | Each | [5 empty] | Routine Maintenance Department | Komil Aliqulov Ahmad o'g'li | 2024 | 5 | Spare parts for all UPS panels of Uzbekistan GTL plant. | 150 | 6300 | 2024 | 5 | WIM0063611
1679 | CT DC 494A<IDC=<544A740A<IDISCH=<817A P007- | 4 | Each | [5 empty] | Routine Maintenance Department | Komil Aliqulov Ahmad o'g'li | 2024 | 5 | Spare parts for all UPS panels of Uzbekistan GTL plant. | 434 | 1736 | 2024 | 5 | WIM0063612
1679 | CT DC 375A<IDC=<409A562A<IDISCH=<613A P009 | 2 | Each | [5 empty] | Routine Maintenance Department | Komil Aliqulov Ahmad o'g'li | 2024 | 5 | Spare parts for all UPS panels of Uzbekistan GTL plant. | 434 | 868 | 2024 | 5 | WIM0063613
1679 | COMPLETE PCB PSU 220VDC OUT 0500160 A202 | 4 | Each | [5 empty] | Routine Maintenance Department | Komil Aliqulov Ahmad o'g'li | 2024 | 5 | Spare parts for all UPS panels of Uzbekistan GTL plant. | 1998 | 7992 | 2024 | 5 | WIM0063614
1679 | CT DC 616A<IDC=<749A924A<IDISCH=<1123A P007- P009 | 8 | Each | [5 empty] | Routine Maintenance Department | Komil Aliqulov Ahmad o'g'li | 2024 | 5 | Spare parts for all UPS panels of Uzbekistan GTL plant. | 434 | 3472 | 2024 | 5 | WIM0063615
1679 | CT DC 324A<IDC=<375A485A<IDISCH=<562A P007 | 2 | Each | [5 empty] | Routine Maintenance Department | Komil Aliqulov Ahmad o'g'li | 2024 | 5 | Spare parts for all UPS panels of Uzbekistan GTL plant. | 434 | 868 | 2024 | 5 | WIM0063616
1679 | CT DC 281A<IDC=<296A421A<IDISCH=<444A P009 | 2 | Each | [5 empty] | Routine Maintenance Department | Komil Aliqulov Ahmad o'g'li | 2024 | 5 | Spare parts for all UPS panels of Uzbekistan GTL plant. | 434 | 868 | 2024 | 5 | WIM0063617
1679 | CAP EL 200V 20% 10000UF 85C RD CB02 | 28 | Each | [5 empty] | Routine Maintenance Department | Komil Aliqulov Ahmad o'g'li | 2024 | 5 | Spare parts for all UPS panels of Uzbekistan GTL plant. | 84 | 2352 | 2024 | 5 | WIM0063618
1679 | CAP MTL PPR 400V 3UF NO.234-0335 CB04 Capacitors | 42 | Each | [5 empty] | Routine Maintenance Department | Komil Aliqulov Ahmad o'g'li | 2024 | 5 | Spare parts for all UPS panels of Uzbekistan GTL plant. | 6 | 252 | 2024 | 5 | WIM0063601
1679 | FAN 220MM 230V 900M3/H RADIAL Fanbox | 16 | Each | [5 empty] | Routine Maintenance Department | Komil Aliqulov Ahmad o'g'li | 2024 | 5 | Spare parts for all UPS panels of Uzbekistan GTL plant. | 114 | 1824 | 2024 | 5 | WIM0063619
1679 | FAN SPEED CONTROL BOARD SDC SMALL 12V Fanbox | 16 | Each | [5 empty] | Routine Maintenance Department | Komil Aliqulov Ahmad o'g'li | 2024 | 5 | Spare parts for all UPS panels of Uzbekistan GTL plant. | 132 | 2112 | 2024 | 5 | WIM0063620
1679 | XFMR SAF ISOL -15% 216- 251VAC+10% IEC/UL 3 transformers need to be soldered onto each of the interface boards (Pos 860) | 24 | Each | [5 empty] | Routine Maintenance Department | Komil Aliqulov Ahmad o'g'li | 2024 | 5 | Spare parts for all UPS panels of Uzbekistan GTL plant. | 18 | 432 | 2024 | 5 | WIM0063621
1679 | B PCA SDC I/F PSU110- 125VDC EMC REINFORCED 3 transformers ( Pos 850) need to be soldered into each of these interface boards (Pos 860) | 8 | Each | [5 empty] | Routine Maintenance Department | Komil Aliqulov Ahmad o'g'li | 2024 | 5 | Spare parts for all UPS panels of Uzbekistan GTL plant. | 1990 | 15920 | 2024 | 5 | WIM0063622
1679 | B PCB ASSY SDC CONTROLLER The legacy controller is obsolete. It has been replaced one to one with this part number. | 8 | Each | [5 empty] | Routine Maintenance Department | Komil Aliqulov Ahmad o'g'li | 2024 | 5 | Spare parts for all UPS panels of Uzbekistan GTL plant. | 2061 | 16488 | 2024 | 5 | WIM0063623
1679 | CAP EL 500V 20% 2200UF 85C RD CB02 Capacitors | 320 | Each | [5 empty] | Routine Maintenance Department | Komil Aliqulov Ahmad o'g'li | 2024 | 5 | Spare parts for all UPS panels of Uzbekistan GTL plant. | 77 | 24640 | 2024 | 5 | WIM0063602
1679 | CT DC 544A<IDC=<616A817A<IDISCH=<924A P007- P009 | 6 | Each | [5 empty] | Routine Maintenance Department | Komil Aliqulov Ahmad o'g'li | 2024 | 5 | Spare parts for all UPS panels of Uzbekistan GTL plant. | 434 | 2604 | 2024 | 5 | WIM0063603
1679 | CT DC 409A<IDC=<467A613A<IDISCH=<700A P009- | 4 | Each | [5 empty] | Routine Maintenance Department | Komil Aliqulov Ahmad o'g'li | 2024 | 5 | Spare parts for all UPS panels of Uzbekistan GTL plant. | 434 | 1736 | 2024 | 5 | WIM0063604
1679 | SUB ASSY FAN 230VAC DUAL SPEED XXW E00x | 97 | Each | [5 empty] | Routine Maintenance Department | Komil Aliqulov Ahmad o'g'li | 2024 | 5 | Spare parts for all UPS panels of Uzbekistan GTL plant. | 432 | 41904 | 2024 | 5 | WIM0063605
1679 | CABLE HARNESS FAN SPEED CONTROL ADAPTER E00x | 97 | Each | [5 empty] | Routine Maintenance Department | Komil Aliqulov Ahmad o'g'li | 2024 | 5 | Spare parts for all UPS panels of Uzbekistan GTL plant. | 13 | 1261 | 2024 | 5 | WIM0063606
1679 | SUB ASSEMBLY FAN 230VAC FOR ROOF XXW E021/E023 | 42 | Each | [5 empty] | Routine Maintenance Department | Komil Aliqulov Ahmad o'g'li | 2024 | 5 | Spare parts for all UPS panels of Uzbekistan GTL plant. | 420 | 17640 | 2024 | 5 | WIM0063607
1679 | FAN MONITOR 8CH LOW FAN SPEED 120-240VAC A05x, A06x | 50 | Each | [5 empty] | Routine Maintenance Department | Komil Aliqulov Ahmad o'g'li | 2024 | 5 | Spare parts for all UPS panels of Uzbekistan GTL plant. | 401 | 20050 | 2024 | 5 | WIM0063608